# Extension Worksheet –  Option I, Worksheet 1

1	Sound of power  is incident on the ear. The area of the eardrum is .

a	Calculate the sound intensity level at the eardrum.	[2]

b	Comment on your answer to a. 	[2]

2	A patient has a hearing loss of 15 dB at 500 Hz. Calculate the ratio  of the intensities of sound that can just be heard by the healthy person and the patient at a frequency of 500 Hz.	[3]

3	The graph shows the variation with frequency of the threshold of hearing for a healthy young adult.

On the axes above draw the variation with frequency of the threshold of hearing for an elderly person.	[2]

4	a	State the part of the ear where frequency discrimination takes place.	[1]

b	Suggest why loss of hearing at higher frequencies is more likely to affect speech recognition than hearing loss at low frequencies.	[2]

5	When a wave travelling in a medium of impedance  is incident on a medium of impedance  the fraction of the incident intensity that is reflected (the reflection coefficient) is given by . The acoustic impedance of air is  and that of tissue is .

a	Use this formula to calculate the fraction of the incident intensity of ultrasound that gets transmitted into tissue from air. 	[2]

b	Explain why it is necessary to put gel in between the skin of  the patient and the ultrasound transducer. 	[2]

6	Increasing the frequency of ultrasound used in medical diagnosis increases the resolution. Explain why the frequency of the ultrasound is limited to no more than 15 MHz. 			[2]

7	In nuclear magnetic resonance imaging (NMRI), photons emitted by protons inside hydrogen nuclei in the patient’s body are detected and analysed.

a	State the part of the electromagnetic spectrum that these photons belong to. 	[1]

b	Outline the physical mechanism that leads to the photon emissions. 	[2]

8	Outline the principles behind nuclear magnetic resonance imaging. 	[5]

9	Outline the principles behind CT scanning. 	[4]

10	A person is accidentally exposed to ionising radiation.

a	Explain what is meant by ionising radiation.	[1]

b	Describe the effects of ionising radiation on living tissue. 	[3]

c	Suggest why it is not possible to assess the effects of this radiation on the person’s health immediately after the exposure. 	[2]

11	A mono-energetic beam of X-rays of intensity  is incident on tissue.

After travelling through 6.0 cm of tissue the beam is incident on bone of thickness 3.5 cm. The attenuation coefficient for tissue is 0.14 cm–1 and that for bone is 0.74 cm–1.

a	State one source of attenuation of X-rays in tissue.	[1]

b	Calculate the fraction of the X-ray intensity after the beam exits the bone.	[2]

c	Suggest what feature of the answer to b indicates that an X-ray image of a bone fracture will be possible.	[2]

d	Explain the use of an intensifying screen in X-ray imaging.	[3]